# Appendix

- Linearization of the Reserve Capacity Model

There are a large number of nonlinear variable products in Eqs. (12)-(13), the linearisation method is given as an example of the non-discharged state to adjust the upper limit of the standby. The first step is to solve the product of nonlinear variables in curly brackets, whose nonlinearity originates from the product of binary variables and continuous variables.

Define auxiliary variable , Eq.  shows the auxiliary constraints corresponding to the example state expressions, and the linearisation method for the remaining states is the same.

Next, the auxiliary variables are brought back to the original constraints and updated to Eq..

Define the auxiliary variable , then the auxiliary variable  needs to satisfy the Eq..

It can be seen that the constraints appear to multiply the binary variable  with the binary variable  and the binary variable  with the continuous variable . Therefore, a new binary auxiliary variable  and a continuous auxiliary variable  are introduced to linearise them, and the relevant auxiliary linear constraints as shown in Eqs.- are satisfied.

where, is the value of the introduced auxiliary linearisation parameter and is a sufficiently large positive real number.

The relevant constraints of the auxiliary variables are updated as shown in Eq.. At this point, all the nonlinear components in Eqs. (12)-(13) have been linearised, and the final linear constraint equation is shown in Eq. .

where, , and denote the auxiliary variables for all states except the example state.

- System Parameters

Table B I

Relevant Parameters of a Single Customer - Side Energy Storage System

| parameters | value |
| --- | --- |
|  | 7.5kWh |
|  | 2.5kW |
|  | 2.5kW |
|  | 0.95 |
|  | 0.95 |

Table B I shows the relevant parameters of a single customer - side energy storage system. indicates the rated capacity of individual user-side energy storage, and this paper takes the actual typical value of 7.5kWh for household energy storage as the parameter value, and assumes that each user-side energy storage has a uniform specification.

ESS are deployed at nodes 4 and 13, each with a capacity of 300 kW/900 kWh. Nodes 21, 23, and 31 fall under the jurisdiction of community power supply, and each residential area is equipped with ESS of uniform specifications.

Configure 4 groups of CBs at the corresponding nodes as shown in Fig. 3. The regulation range is specified to be from 0 to 400 , and the regulation step is 50 . The upper and lower limits of the voltage amplitude are 1.05 p.u. and 0.95 p.u., respectively, and the voltage amplitude at the root node is =1 p.u..

PVs are installed at seven nodes in the distribution network, as shown in Fig. 3, with capacities of 500 kW, 500 kW, 400 kW, 200 kW, 250 kW, 550 kW, and 500 kW, respectively, and the power factor limit of the PV power converter is set to 0.75.

Table B II

Related Parameters for Generators

| Generator Number | Installed Capacity (MW) | Power Generation Bidding ($/MWh) | Reserve Bidding（$/MWh） |
| --- | --- | --- | --- |
| 1 | 6 | 260.83 | 347.06 |
| 2 | 6 | 260.83 | 347.06 |
| 3 | 7.5 | 524.51 | 525.22 |
| 4 | 15 | 417.61 | 347.06 |
| 5 | 7.5 | 225.20 | 225.91 |
| 6 | 15 | 225.20 | 311.43 |
| 7 | 31 | 225.20 | 204.53 |
| 8 | 30 | 332.09 | 297.17 |
| 9 | 17.5 | 225.20 | 197.40 |
| 10 | 25 | 403.36 | 297.17 |

Table B III

Related Parameters for Electricity Retailers

| Electricity Retailer Number | Load parameters (MW) | Bid for Electricity Purchases($/MWh) | Reserve Bidding（$/MWh） |
| --- | --- | --- | --- |
| 1 | 12.5 | 258.69 | 441.84 |
| 2 | 12.5 | 265.82 | 406.21 |
| 3 | 12.5 | 272.94 | 370.57 |
| 4 | 12.5 | 280.07 | 334.94 |
| 5 | 12.5 | 344.21 | 313.56 |
| 6 | 12.5 | 344.21 | 285.06 |
| 7 | 12.5 | 358.46 | 263.68 |
| 8 | 12.5 | 379.84 | 263.68 |
| 9 | 12.5 | 358.46 | 228.05 |
| 10 | 12.5 | 237.31 | 192.41 |

Table B II and Table B III present the relevant parameters for power generation and sales companies.

In the reserve market, we assume that the load curves of all retail companies follow the same temporal trend, with their load levels equal to the load baseline multiplied by a multiplier, as shown in Fig. B 1. The upper limit of available reserve capacity for power generation companies is 10% of their generation capacity, while for retail companies, it is 10% of their load level. Assume that the system-wide upward and downward reserve capacity requirements are 5% and 4% of the total system energy demand bid, respectively. Fig. B 1 shows the incentive and penalty prices for reserve capacity supply.

Fig. B 1 Loading Factor and Reserve Market Parameters

- Distribution of ESS Charging/Discharging Power and State of Charge

(a) Energy Storage Stations at Node 13

(b) User-side Energy Storage at Node 21

(c) User-side Energy Storage at Node 23

Fig. C 1 The Distribution of ESS Charging and Discharging Power

(a) Energy Storage Stations at node 13

(b) User-side Energy Storage at Node 21

(c) User-side Energy Storage at Node 23

Fig. C 2 The Distribution of State of Charge

- Supply of Downward Reserve Capacity

Fig. D 1 Downward Reserve Provided by Participants

Fig. D 2 Optimal Downward Reserve Decisions of DSO

Fig. D 3 Optimal Downward Reserve Decisions in Real-time Phase